Sustainability and Risk Engineering

by

Course

Professor

University

City

Date

Sustainability and Risk Engineering

Music Estimation

Implied excess on the surface of a selected area is estimated through the utilization of the MUSIC program. Such approximations encapsulate quantity measures of all the discharged water runoffs from neighbouring urban localities (Ahammed et al. 2017). In due course, during measuring estimations, myriads of factors considered that include soil surface rate, interflow absorption, as well as the water basins’ identified movements (Imteaz & Ahsan, 2015). Evidently, the underlying estimation procedurals are supposed to involve the summation of Kingaroy town rainfall proportion, abstractions and evapotranspiration losses of town’s fewer storages. In the following reflected estimations, which are cautiously developed by utilizing the BoM website.

- Primary Actions: At this step, the applications were launched, and subsequently, a Rainfall-Runoff library was established in order to pinpoint the drainage area. Afterwards, all the catchment’s regulated parameters were recorded and transmitted to the measurement page of the MUSIC rainfall-runoff section. Later that, the development of a node took place that was allocated to highlight the selected regions. Moreover, in order to elaborate on the interconnectivity between source and receiving nodes, routing parameters are established.

- Examination and Data Entry:  At this phase, data that was retrieved from sub-daily records entered into the MUSIC through typing mode on rainfall page’s receiving node; the practice, in turn, facilitated in comprehending the indicated forecasted runoffs within diverse time frames. As a result, the observational outcomes depicted that the inserted data in storage property and custom outflow altered unpredictably (the ninth image below illustrates the observation results).

- Acquiring the Hydrograph: Through the implied process, the following hydrograph is extracted. All the entries were developed by employing the Kingaroy’s climate tale; Climate Data Org extorted the weather table. The website demonstrated the chronological weather data discrepancies (the mentioned data is given in Appendix 1).

- Development of Numeric Estimations: Subsequent to obtaining the above-mentioned results, the attained results transmitted to Flux File to estimate the accumulated overspills in given territories, and the following measurements were noted. A rational and logical method was employed for the computation of estimation for total overspills are involved in the fortitude of qn. The evaluation demonstrated a figure that is equal to 0.0028 CiA (m3s-1) that resulted as 6.44x 10-3mm/second. On the other hand, the MUSIC approach estimation pointed up 6.25x 10-3mm/second that elucidated a minor scope from the above-mentioned rational technique value.

WSUD Technologies

According to Rasheed (2018), WSUD Technologies embrace the idea of engineering design for the metropolitan water cycle that in turn delineates stormwater, groundwater, management of waste and other similar municipal supplies to the urban centers. The very technology enwraps other intertwined practices and activities that associate the environmental facades altogether. The implied project proffers a substantial insight into the implicated water management plans of Kingaroy that are devised to decrease the augmented social and economic advantages of the city. WSUD technologies are opted for planning the design and structures, landscapes, and managing the water sensitivity issues of the region (Ahammed, 2017). Such sensitivity measures are deemed to rectify the sustainability of water resources usage modes. The process also associates the parameters to certify the environmental and augmented living and exchangeability of the populace of the targeted area.

The utilization of WSUD technologies features a myriad of perks, among which enhanced climatic flexibility in the recognized sphere, healthy lifestyle for the Kingaroy’s inhabitants and security of water throughout different hydrological cycles are significant (Rowlands, 2019). WSUD technologies pursue a few principles to run the applications, which are inscribed below.

- WSUD technologies use an integrated approach in managing water and planning activities of land usage (Sharma et al., 2018). The standard assists WSUD in tackling the matters interrelated to the water management, which is highlighted in various drainage areas and sub-catchment settings.

- Making ecological integrity certain

- Guarantee conversion of biodiversity

- Assuring the implications of different WSUD solutions including, structural, non-structural, and site-specific.

- Reassuring communal values and perceived public health protection.

Swales and basins of bio-retention systems are prevalent instances of WSUD technologies. Moreover, the water out and inflows, porous paving, sand filters, infiltration system and water balance development in the recognized municipal area through using the equation of water balance are also prominent examples. In this context, it is imperative to comprehend that a region can feature soil column, catchment basin at the same time that, in turn, impact the water out and inflow plans to a great extent (Farooqui et al., 2016). The underlying project only pivots the estimation for 10ha land and addresses rainfalls, evaporation, change of storage and the steam flow as the primary variable that develops equations for water balances. The equation for water balance entails the following factors:

The equations above presume various methods, including evaporation, and the surface overspills, as the channels for precipitation in urban terrains. The implied measurements are recognized to understand the quantity of water that can be conveniently stored in the metropolitan area system. The approximation, in turn, assists in devising plans and schemes for sustainable and productively efficient resource utilization processes for urban centers. The data sources which are obtained throughout the study of Kingaroy Town illustrated certain water modifications and therefore, can be considered as a pragmatic analytical report. Furthermore, the conduits throughout the Kingaroy region are also evident and elucidated in the figure below

Implicating the Equation of Water Balance: (Inflow= Outflow+--/-change in volume)

According to previously estimated calculation, the area yields a figure of 315m2; on the other hand, the annual precipitation demonstrated a number of 5.3x 109. In this case, the computation of debt was approximated as the yearly rainfall multiplied by the value of a given region, i.e. 53.4m. Similarly, the approximated storage value of the water was calculated as 14x 106 m3; meanwhile, 12m3/s and 23m3/sec were the inflows and outflows for the changes, respectively. In due course, the balance of water was computed as P-E-T- Q= DS (825-625-100) =25mm.

References

Ahammed, F.(2017). A review of water-sensitive urban design technologies and practices 
            for sustainable stormwater management. Sustainable Water Resources 
            Management, 3(3), pp. 269-282.

Ahammed, F., Somerville, C., Hamilton, F. and Beardwell, R. (2017). Techno-Economic 
            Analysis of Hybrid Drainage Systems in South Australia. International Journal of 
            Environmental Science and Development, 8(6).

Anderson, J. E., Wulfhorst, G. and Lang, W., (2015). Energy analysis of the built 
           environment—A review and outlook. Renewable and Sustainable Energy 
           Reviews, Volume 44, pp. 149-158.

Australia Building Codes Board. (2019). Climate Zone Map: Queensland. [Online] 
            Available at: [Accessed 3 June, 2019].

Azari, R. and Abbasabadi, N. (2018). Embodied energy of buildings: A review of data, 
           methods, challenges, and research trends. Energy and Buildings, Volume 168, pp. 
           225-235.

BASIX, (2019). Terms and conditions of use. [Online] Available at: [Accessed 3 June, 
           2019]. Chel, A. & Kaushik, G. (2018). Renewable energy technologies for 
           sustainable development of energy efficient building. Alexandria Engineering 
           Journal, 57(2), pp. 655-669.

Cheshire, L. (2015). Australian Housing and Urban Research Institute. Chitchyan, R. et 
           al. (2016). Sustainability design in requirements engineering: state of practice. s.l., 
          ACM, pp. 533-542.

Climate Data Org. (2019). Climate Kingaroy. [Online] Available at: [Accessed 3 June, 
            2019].

Dataandtime Info. (2019). Geographic coordinates of Kingaroy, Australia. [Online] 
          Available at: [Accessed 4 June, 2019].

Dixit, M. K., Culp, C. H. and Fernandez-Solis, J. L. (2015). Embodied energy of 
         construction materials: Integrating human and capital energy into an IO-based 
         hybrid model. Environmental science & technology, 49(3), pp. 1936-1945.

Engineering and BIM. (2019). Client centric engineering creates maximum value. 
         [Online] Available at: [Accessed 3 June, 2019].

Farooqui, T. A., Renouf, M. A. L. and Kenway, S. J. (2016). A metabolism perspective 
         on alternative urban water servicing options using water mass balance. Water 
         Research, Volume 106, pp. 415-428.

Güneralp, B. et al. (2017). Global scenarios of urban density and its impacts on building 
         energy use through 2050. Proceedings of the National Academy of Sciences, 
         114(34), pp. 8945-8950.

Hák, T., Janoušková, S. and Moldan, B. (2016). Sustainable Development Goals: A need 
          for relevant indicators. Ecological Indicators, Volume 60, pp. 565-573.

Hwang, S. M. and Phuah, S. L. (2018). Safety in green building construction projects in 
          Singapore: Performance, critical issues, and improvement solutions. KSCE Journal 
          of Civil Engineering, 22(2), pp. 447-458.

Imteaz, M. A. and Ahsan, A. (2015). MUSIC for cost optimisation of stormwater 
          treatment systems. International Journal of Water, 9(3), pp. 302-314.

Kibert, C. J. (2016). Sustainable construction: green building design and delivery.. s.l., 
             John Wiley & Sons.

Kingaroy, (2019). Kingaroy. [Online] Available at: 
             https://www.southernqueenslandcountry.com.au/destinations/kingaroy [Accessed 
             02 June, 2019].

Liu, H. & Lin, B. (2016). Ecological indicators for green building construction.,. 
           Ecological Indicators, 67(0), pp. 68-77.

NSW Government. (2018). The Building sustainability Index and Local government 
           Addressing the Problems. [Online] Available at: [Accessed 3 June 2019].

Nsw. Government. (2019). About BASIX. [Online] Available at: [Accessed 2 June 
          2019]. Rasheed, A. M. (2018). Adaptation of water sensitive urban design to 
         climate change (Doctoral dissertation, Queensland University of Technology).

Rowlands, L. (2019). Erosion and Sediment Control—WSUD During the Construction 
           Phase of Land Development. In Approaches to Water Sensitive Urban Design (pp. 
          163-176). , s.l. Woodhead Publishing.

Salcido, J. C., Raheem, A. A. and Ravi, S. (2016). Comparison of embodied energy and 
           environmental impact of alternative materials used in reticulated dome 
           construction. Building and environment, Volume 96, pp. 22-34.

Sharma, A., Gardner, T. and Begbie, D. (2018). Approaches to Water Sensitive Urban 
           Design: Potential, Design, Ecological Health, Urban Greening, Economics, 
           Policies, and Community Perceptions. , s.l. Woodhead Publishing.

Where is .com. (2019). Map of Kingaroy, QLD 4610. [Online] Available at: [Accessed 3 
          June, 2019]. Zhou, L. et al. (2016). Energy consumption model and energy 
        efficiency of machine tools: a comprehensive literature review. Journal of Cleaner 
        Production, Volume 112, pp. 3721-3734

# Text boxes

P= Evaporation (R) + Stream flow (E) + Change in Storage (∆S)